## WB
HPOIL GAS PRIVATE LIMITED SECTION: VI SCHEDULE OF RATES (SOR) FOR SUPPLY OF CHECK METERING SKID FOR NAGALAND STATE GAs Tender No: HOGPL/VCS/2025-26/C&P-NL/PRC/CMS/014
Name of Bidder:
Sl No. | Description as per MR | Unit | Quantity | Unit Ex-works price quoted by the bidder (including packing, forwarding, and GSTon components and raw materials, TPIA charges but excluding Inland Transportation to Delivery Location) | Unit Inland transportation upto Delivery location and other costs incidental to delivery of goods | GST (CGST&SGST/UTGST or IGST) on the finished goods excluding inland transportation (i.e. on cl. no. 5) |  | GST (CGST&SGST/UTGST or IGST) on inland transportation (i.e. on cl. no. 6) |  | Unit FOT site price incl. GST & & inland transportaion | Total FOT site price incl. all taxes & duties & inland transportaion | Harmonized System Nomenclature (HSN)
|  |  | (Nos.) | (INR) | (INR) | % | (INR) | % | (INR) | (INR) | (INR)
(1) | (2) | (3) | (4) | (5) | 6 | (7A) | (7B) | (8A) | (8B) | (9)= (5)+(6)+(7B)+ (8B) | (10)= (9) X (4) | (11)
Design, engineering, manufacturing, inspection, testing, supply, shipment, loading, unloading, pre-commissioning & commissioning etc. along with complete documentaton in accordance with the tender requirements.
FOR DELIVERY LOCATION AT DIMAPUR NAGALAND GA
A.1 | Design, Engineering, Supply (including transportation to worksite(s)/workshop(s) loading, unloading and handling at site), Testing, Commissioning and Supervision of Erection of Turbine Flow Meter (1500 SCMH to 40000 SCMH) & RPD (20 SCMH to 2000 SCMH) based Check Metering along with Field mounted Flow computer mounted in Explosion Proof Enclosure (1 Nos.). The Skid comprises of Field Instruments like Temperature Transmitters, Flow Transmitters & Pressure Transmitters, Pressure/Temperature gauge , Restriction Orifice etc., as shown in the P&ID & Datasheetss attached with the Tender Document along with associated accessories, instrument fittings, manifolds, impulse tubing with fittings, canopies for instruments, line pipes, valves, NRVs, flanges, gaskets, all structure / supports / operating platforms,internal skid cables (1 Pair/Triad) and cabling from field instruments to field JBs and multipair/Traid/Power cable from field JB to flow computer (Field mounted enclosure), required power cable to the skid, mounting stands and all applicable accessories, Supply of erection & commissioning spares, tools & tackles at DIMAPUR NAGALAND GA ; Note: 1. Supply of Multi Pair signal cable/Power cable/Triad cables /control cables from skid mounted JB to FC/ enclosure shall be in Skid Vendor scope and length shall be finalized as per the site requirement at the stage of detail engineering / document approval. 2. The Installation of the Skid shall be in the Station Contractor Scope under the supervision of Metering Skid Vendor. However, Testing & Commissioning shall be in Skid Vendor Scope. 3. Data should be interface with odourising unit & flow computer . 4. All the specifications & jobs should be inline as per tender document. 5. Skid design inline as per p&id drawing no C261162-01-PC-PID-1001. | No. | 1 |  |  |  | 0 |  | 0 | 0 | 0
(1): TOTAL AMOUNT (INCL. GST) |  | 0
Place: | [5 empty] | BIDDER'S NAME
Date: | [5 empty] | BIDDER's SIGH & STAMP