## SOR AK
SCHEDULE OF RATES (SOR)REV01
TENDER NO. HOGPL/2026-27/C&P/016 DATE: 04.07.2026
PROVIDING FORECOURT SERVICES FOR CITY GATE STATION AND CNG STATIONS AT AMBALA-KURUKSHETRA & KOLHAPUR GA
PART A: AMBALA-KURUKSHETRA GA
Name of the Firm
SR No | Description | UOM | Qty | Unit Rate (Incl of all taxes & duties except GST) | Total Amount (Incl of all taxes & duties except GST)
1 | Providing CNG Fueled Emergency Response Vehicle (ERV) (Maruti Suzuki Eeco or any equivalent vehicle, Year of Make- 2023/Current Year) | months | 24 |  | 0
Decription : Providing CNG Fueled Emergency Response Vehicle (ERV) (Maruti Suzuki Eeco or any equivalent vehicle, Year of Make- 2023/Current Year) along with driver on 24*7 hrs. duty for 3000 fixed running Kms per month. No of Vehicle: 01 No.
2 | Extra Mileage beyond fixed Kms (A-K GA) | km | 15000 |  | 0
Decription : Extra Mileage beyond fixed Kms (A-K GA)
3 | Toll Parking / Octroi etc. (A-K GA) | Rs. | 25000 |  | 0
Decription : Toll Parking / Octroi etc. (A-K GA)
4 | Charges for Fuel Escalation (A-K GA) | Rs. | 250000 |  | 0
Decription : Charges for Fuel Escalation (A-K GA)
5 | Providing Services of Shift In-Charge | man months | 72 |  | 0
Decription : Providing Services of Shift In-Charge; Education Criteria: Diploma or above; Experience Criteria: Min. 01/02 Years; Category: Skilled
6 | Providing Technical Services, Education Criteria: ITI (Mech.) or above or Trade Certificate/License | man months | 72 |  | 0
Decription : Providing Technical Services; Education Criteria: ITI (Mech.) or above or Trade Certificate/License; Experience Criteria: Min. 01 Year; Category: Skilled
7 | Providing Technical Services, Education Criteria: ITI (Inst.)or above or Trade Certificate/License | man months | 24 |  | 0
Decription : Providing Technical Services; Education Criteria: ITI (Inst) or above or Trade Certificate/License; Experience Criteria: Min. 01 Year; Category: Skilled
8 | Providing Technical Services, Education Criteria: ITI (Elec.) or above or Trade Certificate/License | man months | 72 |  | 0
Decription : Providing Technical Services; Education Criteria: ITI (Elect) or above or Trade Certificate/License; Experience Criteria: Min. 01 Year; Category: Skilled
9 | Providing Miscellaneous Services (Housekeeping/ Helper/ Office boy Education Criteria: Literate Experience Criteria: Min. 01 Year; Category: Unskilled | man months | 72 |  | 0
Decription : Providing Miscellaneous Services (Housekeeping/ Helper/ Office boy Education Criteria: Literate Experience Criteria: Min. 01 Year; Category: Unskilled
10 | Providing Driveway Sales Services (Dispenser Filler Boy) & Mobile cascade Filler Boy Education Criteria: Matriculation SSC Criteria: Min. 01 Year; Category: Semi-Skilled | man months | 96 |  | 0
Decription : Providing Driveway Sales Services (Dispenser Filler Boy) & Mobile cascade Filler Boy Education Criteria: Matriculation SSC Criteria: Min. 01 Year; Category: Semi-Skilled
11 | Providing Miscellaneous Services at the time of Emergency / Urgency | Mandays | 100 |  | 0
Decription : Providing Miscellaneous Services at the time of Emergency / Urgency; Education Criteria: Literate; Category: Unskilled
12 | Providing Hydra/Hydraulic lift (with bucket) services for shifting CNG equipment, replacement of FPL lights and other CGD related job as per direction of EIC in the Ambala-Kurukshetra GA | hours | 400 |  | 0
Decription : Providing Hydra/Hydraulic lift (with bucket) services for shifting CNG equipment, replacement of FPL lights, and other CGD-related jobs as per direction of EIC in the Ambala-Kurukshetra GA
13 | Providing and carrying out painting and marking of pipelines and structures, including supply of paint, all required materials, and manpower. (Double-coating primer and double-coating epoxy paint. ) | m2 | 750 |  | 0
Decription : Providing and carrying out painting and marking of pipelines and structures, including supply of paint, all required materials, and manpower. (Double-coating primer and double-coating epoxy paint. )
14 | Transporitaion of CNG equpment with loading and unloading (Pay load: up to 20 Ton) | Nos | 5 |  | 0
Decription : Transportation of CNG equipment with loading and unloading (Payload: up to 20 tons) for up to 50 KM
15 | Transporitaion of CNG equpment with loading and unloading (Pay load:20 Ton) | Nos | 7 |  | 0
Decription : Transportation of CNG equipment with loading and unloading (Payload: up to 20 tons) for up to 100 KM
16 | Transportation of CNG equipment with loading and unloading (Payload: up to 20 tons) | Nos | 5 |  | 0
Decription : Transportation of CNG equipment with loading and unloading (Payload: up to 20 tons) for up to 200 KM
17 | SS TUBE SUPPLY,LAYING & TESTING | RM | 30 |  | 0
Decription : SS Tubes ¾” OD X 0.095” min Wall thk., Material SS316SS Tube
18 | SS TUBE SUPPLY , LAYING & TESTING | RM | 30 |  | 0
Decription : SS Tubes ½” OD X 0.083” min Wall thk., Material SS316 SS Tube
19 | SS TUBE SUPPLY, LAYING & TESTING | RM | 20 |  | 0
Decription : SS Tubes 1/4” OD X 0.035” min Wall thk., Material SS316 SS Tube.
20 | Conductive Core Thermoplastic Hose | Nos | 5 |  | 0
Decription : QRC 1/2" NPTS, 1/2" ID Conductive Core Thermoplastic Hose for CNG Service with break-away coupling, Min 4 meter length including connector for 1/2 '' 3 way ball valve (Make-Parker)
21 | QRC 1/2" NPTS, 1/2" ID Make- Swagelok (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 5 |  | 0
Decription : QRC 1/2" NPTS, 1/2" ID Make- Swagelok (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
22 | Break away Coupling Make-Staubli (Flow:3600 SCMH Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 5 |  | 0
Decription : Break away Coupling Make-Staubli (Flow:3600 SCMH Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
23 | Plug Size : ¾" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 5 |  | 0
Decription : Plug Size : ¾" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
24 | Plug Size : ½" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 5 |  | 0
Decription : Plug Size : ½" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
25 | Union Size : ¾" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 20 |  | 0
Decription : Union Size : ¾" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
26 | Union Size : ½" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 10 |  | 0
Decription : Union Size : ½" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
27 | Reducing Union Tube OD 3/4" x Tube OD 1/2", Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 10 |  | 0
Decription : Reducing Union Tube OD 3/4" x Tube OD 1/2", Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
28 | 4-Way Fitting Size: ¾" OD x ¾" OD x ¾" OD, Material : SS316 ( Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 10 |  | 0
Decription : 4-Way Fitting Size: ¾" OD x ¾" OD x ¾" OD, Material : SS316 ( Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
29 | Equal Tee Size: ¾" OD x ¾" OD x ¾" OD x ¾" OD, Material : SS316 ( Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 10 |  | 0
Decription : Equal Tee Size:¾" OD x ¾" OD x ¾" OD x ¾" OD, Material : SS316 ( Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
30 | Equal Tee Size: ½"OD x ½" OD x ½" OD, Material:SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 5 |  | 0
Decription : Equal Tee Size: ½"OD x ½" OD x ½" OD, Material:SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
31 | Reducing Union Tee : ¾" OD x ½" OD x ¾" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 10 |  | 0
Decription : Reducing Union Tee ¾" OD x ½" OD x ¾" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
32 | Front Ferrule 3/4" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 20 |  | 0
Decription : Front Ferrule 3/4" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
33 | Front Ferrule ½" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 20 |  | 0
Decription : Front Ferrule ½" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
34 | Back Ferrule 3/4" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 20 |  | 0
Decription : Back Ferrule 3/4" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
35 | Back Ferrule ½" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 20 |  | 0
Decription : Back Ferrule ½" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
36 | Male Connector Size ¼" NPT (M) x 3/8" OD, SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 10 |  | 0
Decription : Male Connector Size ¼" NPT (M) x 3/8" OD, SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
37 | Male Connector Size 1/2" NPT (M) x 3/8" OD, SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 10 |  | 0
Decription : Male Connector Size 1/2 NPT (M) x 3/8 OD, SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
38 | Male Connector Size 1/2" NPT (M) x 3/4" OD, SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 10 |  | 0
Decription : Male Connector Size 1/2" NPT (M) x 3/4" OD, SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
39 | Male Connector Size 1/2" NPT (M) x 1/4" OD, SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 10 |  | 0
Decription : Male Connector Size 1/2" NPT (M) x 1/4" OD, SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
40 | Male Connector Size 3/4" NPT (M) x 3/4" OD, SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 20 |  | 0
Decription : Male Connector Size 3/4" NPT (M) x 3/4" OD, SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
41 | Male Connector Size 3/8" NPT (M) x 3/8" OD, SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 10 |  | 0
Decription : Male Connector Size 3/8" NPT (M) x 3/8" OD, SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
42 | SS Ball Valves 2-Way Trunioun Normal Bore Ball Valve ¾"(Rated pressure : 6000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 10 |  | 0
Decription : SS Ball Valves 2-Way Trunioun Normal Bore Ball Valve ¾"(Rated pressure : 6000 PSI @ 70°F Temperature : 0°F to 400°F)
43 | SS Ball Valves 2-Way Trunioun Normal Bore Ball Valve ½"(Rated pressure : 6000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 10 |  | 0
Decription : SS Ball Valves 2-Way Trunioun Normal Bore Ball Valve ½"(Rated pressure : 6000 PSI @ 70°F Temperature : 0°F to 400°F)
44 | SS Ball Valves 3-Way Trunnion Mounted, Reducer Bore Ball Valve ½" OD end Connection and ¼" NPT (F) bottom end connection(Rated pressure : 6000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 20 |  | 0
Decription : SS Ball Valves 3-Way Trunnion Mounted, Reducer Bore Ball Valve ½" OD end Connection and ¼" NPT (F) bottom end connection(Rated pressure : 6000 PSI @ 70°F Temperature : 0°F to 400°F)
45 | Carbon Steel Ball Valve 2" NB,FB, 300# | Nos | 5 |  | 0
Decription : Carbon Steel Ball Valve 2" NB, FB, 300#
46 | Carbon Steel Ball Valve 1/2" NB,FB, 300# | Nos | 15 |  | 0
Decription : Carbon Steel Ball Valve 1/2" NB, FB, 300#
47 | Carbon Steel Ball Valve 3/4" NB,FB, 300# | Nos | 15 |  | 0
Decription : Carbon Steel Ball Valve 3/4" NB,FB, 300#
48 | Globe Valve 2" NB, 300# | Nos | 5 |  | 0
Decription : Globe Valve 2" NB, 300#
49 | Gaskets (300#) 2" NB | Nos | 40 |  | 0
Decription : Gaskets (300#) 2" NB
50 | Socket (300#) 1/2" Socket | Nos | 20 |  | 0
Decription : Socket (300#) 1/2" Socket
51 | Socket (300#) 3/4" Socket | Nos | 20 |  | 0
Decription : Socket (300#) 3/4" Socket
52 | Socket (300#) 1" Socket | Nos | 20 |  | 0
Decription : Socket (300#) 1" Socket
53 | PRESSURE GAUGES Supply, installation and calibration of pressure Gauges (Range pressure :0-70 Kg/cm2 ) | Nos | 10 |  | 0
Decription : PRESSURE GAUGES Supply, installation and calibration of pressure Gauges (Range pressure :0-70 Kg/cm2 )
54 | Pipe Supports & Other Structures Supply, fabrication and erection of all type of pipe supports | kg | 100 |  | 0
Decription : Supply, fabrication and erection of all type of pipe supports made out of std. steel sections like plates, angles, channels, including clamps, saddles, posts, including bolts, nuts, washers as per specification/drawing including cleaning, painting as specified, and instructions of engineer in charge. Including all civil work for pipe support. No extra payment shall be paid extra for civil works. e.g, Pipe supports including Neoprene Sheet, Copper Jumper at all flange joints.
55 | SUPPLY & LAYING OF CABLES 4C X 2.5 Sq.mm (CU) multi Strand | Meter | 200 |  | 0
Decription : SUPPLY & LAYING OF CABLES 4C X 2.5 Sq.mm (CU) multi Strand
56 | SUPPLY & LAYING OF CABLES 4C X 4 Sq.mm (CU) multi Strand | Meter | 100 |  | 0
Decription : SUPPLY & LAYING OF CABLES 4C X 4 Sq.mm (CU) multi Strand
57 | SUPPLY & LAYING OF CABLES 3.5C X 50 Sq.mm(AL) multi Strand | Meter | 200 |  | 0
Decription : SUPPLY & LAYING OF CABLES 3.5C X 50 Sq.mm(AL) multi Strand
58 | SUPPLY & LAYING OF CABLES 3C X 2.5 Sq.mm(CU) Fexible multi Strand | Meter | 100 |  | 0
Decription : SUPPLY & LAYING OF CABLES 3C X 2.5 Sq.mm(CU) Fexible multi Strand
59 | SUPPLY & LAYING OF CABLES 2.5 Sq.mm(CU) Fexible multi Strand Green Earthing wire | Meter | 50 |  | 0
Decription : SUPPLY & LAYING OF CABLES 2.5 Sq.mm(CU) Flexible multi-strand green earthing wire
60 | SUPPLY & LAYING OF CABLES 10 Sq.mm(CU) Fexible multi Strand Green Earthing wire | Meter | 100 |  | 0
Decription : SUPPLY & LAYING OF CABLES 10 Sq.mm(CU) Flexible multi-strand green earthing wire
61 | SUPPLY & LAYING OF CABLES 16 Sq.mm(CU) Fexible multi Strand Green Earthing wire | Meter | 200 |  | 0
Decription : SUPPLY & LAYING OF CABLES 16 Sq.mm(CU) Flexible multi-strand green earthing wire
62 | CABLE GLANDS & LUGS 4C X 2.5 Sq.mm (CU) multi Strand | Nos | 20 |  | 0
Decription : CABLE GLANDS & LUGS 4C X 2.5 Sq.mm (CU) multi Strand
63 | CABLE GLANDS & LUGS 4C X 4 Sq.mm (CU) multi Strand | Nos | 15 |  | 0
Decription : CABLE GLANDS & LUGS 4C X 4 Sq.mm (CU) multi Strand
64 | CABLE GLANDS & LUGS 3.5C X 50 Sq.mm(AL) multi Strand | Nos | 10 |  | 0
Decription : CABLE GLANDS & LUGS 3.5C X 50 Sq.mm(AL) multi Strand
65 | CABLE GLANDS & LUGS 3.5C X 95 Sq.mm AL) multi Strand | Nos | 10 |  | 0
Decription : CABLE GLANDS & LUGS 3.5C X 95 Sq.mm(AL) multi Strand
66 | CABLE GLANDS & LUGS 3C X 2.5 Sq.mm (CU) multi Strand | Nos | 15 |  | 0
Decription : CABLE GLANDS & LUGS 3C X 2.5 Sq.mm (CU) multi Strand
67 | THYMBLES & CONNECTORS 2.5 Sq.mm (CU) | Nos | 30 |  | 0
Decription : THYMBLES & CONNECTORS 2.5 Sq.mm (CU)
68 | THYMBLES & CONNECTORS 50 Sq.mm(AL) | Nos | 20 |  | 0
Decription : THYMBLES & CONNECTORS 50 Sq.mm(AL)
69 | THYMBLES & CONNECTORS 95 Sq.mm(AL) | Nos | 20 |  | 0
Decription : THYMBLES & CONNECTORS 95 Sq.mm(AL)
70 | THYMBLES & CONNECTORS 180 Sq.mm(AL) | Nos | 20 |  | 0
Decription : THYMBLES & CONNECTORS 180 Sq.mm(AL)
71 | THYMBLES & CONNECTORS 10 Sq.mm(CU) | Nos | 50 |  | 0
Decription : THYMBLES & CONNECTORS 10 Sq.mm(CU)
72 | THYMBLES & CONNECTORS 16 Sq.mm(CU) | Nos | 50 |  | 0
Decription : THYMBLES & CONNECTORS 16 Sq.mm(CU)
73 | SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 16 A, 2P, 50HZ | Nos | 20 |  | 0
Decription : SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 16 A, 2P, 50HZ
74 | SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 32 A, 4P, 50HZ | Nos | 20 |  | 0
Decription : SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 32 A, 4P, 50HZ
75 | SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 63 A, 4P, 50HZ | Nos | 15 |  | 0
Decription : SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 63 A, 4P, 50HZ
76 | SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 100 A, 4P, 50HZ | Nos | 5 |  | 0
Decription : SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 100 A, 4P, 50HZ
77 | SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 125 A, 4P, 50HZ | Nos | 5 |  | 0
Decription : SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 125 A, 4P, 50HZ
78 | SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 250 A, 4P, 50HZ | Nos | 5 |  | 0
Decription : SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 250 A, 4P, 50HZ
79 | SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 400 A,4P, 50HZ | Nos | 5 |  | 0
Decription : SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 400 A,4P, 50HZ
80 | Windsocks, Windsocks supply and installation with assembly stand | Nos | 36 |  | 0
Decription : Windsocks: Windsocks supply and installation with assembly stand
81 | Windsocks supply | Nos | 36 |  | 0
Decription : Windsocks: Windsocks supply
82 | Fire Extinguisher Hydrotest Co2- 4.5Kg | Nos | 15 |  | 0
Decription : Fire Extinguisher Hydrotest Co2- 4.5Kg
83 | Fire Extinguisher Hydrotest DCP- 10kg | Nos | 63 |  | 0
Decription : Fire Extinguisher Hydrotest DCP- 10kg
84 | Fire Extinguisher Hydrotest DCP- 75kg | Nos | 13 |  | 0
Decription : Fire Extinguisher Hydrotest DCP- 75kg
85 | Fire Extinguisher Refilling Co2- 4.5Kg | Nos | 14 |  | 0
Decription : Fire Extinguisher Refilling Co2- 4.5Kg
86 | Fire Extinguisher Refilling DCP- 10kg | Nos | 67 |  | 0
Decription : Fire Extinguisher Refilling DCP- 10kg
87 | Fire Extinguisher Refilling DCP- 75kg | Nos | 13 |  | 0
Decription : Fire Extinguisher Refilling DCP- 75kg
88 | EARTHING Supply, installation, testing & commissioning of Conventional Earthing with Perforated GI earth pipe, 3.0 mtr long, 100 mm dia and Minimum 1.6mm Thick including accessories and providing masonary enclosure with cover plate having locking arrangement etc., with charcoal and salt as required as per IS 3043. | Nos | 10 |  | 0
Decription : EARTHING Supply, installation, testing & commissioning of Conventional Earthing with Perforated GI earth pipe, 3.0 mtr long, 100 mm dia, and Minimum 1.6mm thick, including accessories and providing masonry enclosure with cover plate having locking arrangement etc., with charcoal and salt as required as per IS 3043.
89 | EARTHING Supply, assembling, testing and commissioning all the items for constructing Cu plate earthing station comprises of Earthing with copper earth plate 600 mm X 600 mm X Minimum 3.15 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and G.I watering pipe of 50mm dia 2.7 metre long etc.with charcoal/ coke and salt as required. | Nos | 5 |  | 0
Decription : EARTHING Supply, assembling, testing, and commissioning all the items for constructing Cu plate earthing station comprises of Earthing with copper earth plate 600 mm X 600 mm X Minimum 3.15 mm thick, including accessories, and providing masonry enclosure with cover plate having locking arrangement and G.I watering pipe of 50mm dia 2.7 metre long etc.with charcoal/ coke and salt as required.
90 | EARTHING Supply and Laying of 50mm X 6 mm G.I strip complete with all accessories. | Meter | 30 |  | 0
Decription : EARTHING Supply and Laying of 50mm X 6 mm G.I strip, complete with all accessories.
91 | EARTHING Supply and Laying of 25mm X 3 mm G.I strip complete with all accessories. | Meter | 50 |  | 0
Decription : EARTHING Supply and Laying of 25mm X 3 mm G.I strip, complete with all accessories.
92 | EARTHING Supply and Laying of 25mm X 3 mm CU. strip complete with all accessories. | Meter | 30 |  | 0
Decription : EARTHING Supply and Laying of 25mm X 3 mm CU. strip complete with all accessories.
93 | Rubber mats (2 or 2.5mm thick X 0.9 or 1Mtr w , 1.1 KV) as per IS15652/IEC61111 | Nos | 80 |  | 0
Decription : Rubber mats (2 or 2.5mm thick X 0.9 or 1Mtr w , 1.1 KV) as per IS1 5652/IEC61111
94 | First aid box | Nos | 36 |  | 0
Decription : First aid box
95 | minimum wage escalation | Rs | 300000 |  | 0
Decription : minimum wage escalation
Total Amount for PART A (Excl. GST) |  |  |  |  | 0
GST @.......% |  |  |  |  | 0
Total Amount for PART A (Incl. GST) |  |  |  |  | 0

## SOR KLH
SCHEDULE OF RATES (SOR)REV01
TENDER NO. HOGPL/2026-27/C&P/016 DATE: 04.07.2026
PROVIDING FORECOURT SERVICES FOR CITY GATE STATION AND CNG STATIONS AT AMBALA-KURUKSHETRA & KOLHAPUR GA
PART B: KOLHAPUR GA
Name of the Firm
SR No | Description | UOM | Qty | Unit Rate (Incl of all taxes & duties except GST) | Total Amount (Incl of all taxes & duties except GST)
1 | Providing CNG fueled Emergency Response Vehicle (Maruti Suzuki Eeco or any equivalent vehicle, Year of Make-2023/Current Year) | months | 24 |  | 0
Decription : Providing CNG fueled Emergency Response Vehicle (Maruti Suzuki Eeco or any equivalent vehicle, Year of Make-2023/Current Year) along with driver on 24*7 hrs duty for 3000 fixed running Km per month. No of Vehicle: 01 No.
2 | Extra Mileage beyond fixed Kms | km | 15000 |  | 0
Decription : Extra Mileage beyond fixed Kms
3 | toll parking /octroi etc | Rs. | 25000 |  | 0
Decription : toll parking /octroi etc
4 | Charges for fuel Escalation | Rs. | 250000 |  | 0
Decription : Charges for fuel Escalation
5 | Providing Shift incharge | man months | 72 |  | 0
Decription : PROVIDING TECHNICAL SERVICES EDUCATION CRITERIA:DIP (MECH) OR ABOVE EXPERIENCE CRITERIA : MIN. 01/02 YEARS RESP. CATEGORY: SKILLED
6 | PROVIDING TECHNICAL SERVICES EDUCATION CRITERIA:ITI (MECH) or above OR TRADE CERTIFICATE/LICENSE | man months | 72 |  | 0
Decription : PROVIDING TECHNICAL SERVICES EDUCATION CRITERIA: ITI(MECH) or above OR TRADE CERTIFICATE/LICENSE EXPERIENCE CRITERIA : MIN. 01 YEARS AND ABOVE RESP. CATEGORY: SKILLED
7 | PROVIDING TECHNICAL SERVICES EDUCATION CRITERIA: ITI (INST) or above OR TRADE CERTIFICATE/LICENSE | man months | 48 |  | 0
Decription : PROVIDING TECHNICAL SERVICES EDUCATION CRITERIA: ITI (INST) or above OR TRADE CERTIFICATE/LICENSE EXPERIENCE CRITERIA : MIN. 01 YEARS AND ABOVE RESP. CATEGORY: SKILLED
8 | PROVIDING TECHNICAL SERVICES EDUCATION CRITERIA: ITI (ELECT) OR ABOVE OR TRADE CERTIFICATE/LICENSE | man months | 72 |  | 0
Decription : PROVIDING TECHNICAL SERVICES EDUCATION CRITERIA:ITI (ELECT) or above OR TRADE CERTIFICATE/LICENSE EXPERIENCE CRITERIA : MIN. 01 YEARS AND ABOVE RESP. CATEGORY: SKILLED
9 | Providing Miscellaneous services (Housekeeping/ Helper/ Office boy/MCV (Mobile Cascade Vehicle) Filler Boy) | man months | 72 |  | 0
Decription : Providing Miscellaneous services (Housekeeping/ Helper/ Office boy/MCV (Mobile Cascade Vehicle) Filler Boy) Education Criteria: Literate Experience Criteria : Min. 01year Category: Unskilled
10 | Providing Driveway Sales Services (Dispenser Filler Boy) Education Criteria: Matriculation SSC Experience Criteria: Min. 01 Year; Category: Unskilled | man months | 120 |  | 0
Decription : Providing Driveway Sales Services (Dispenser Filler Boy) Education Criteria: Matriculation SSC Experience Criteria: Min. 01 Year; Category: Unskilled
11 | Providing Operational assistant | man months | 72 |  | 0
Decription : Description : PROVIDING SERVICES OF OPERATIONAL ASSISTANT EDUCATION CRITERIA: DIPLOMA or above EXPERIENCE CRITERIA: MIN. 01/02 YEAR RESP. CATEGORY: SKILLED
12 | Providing Miscellaneous Services at the time of emergency/urgency Education Criteria: Literate Category: Unskilled | Mandays | 150 |  | 0
Decription : Providing Miscellaneous Services at the time of emergency/urgency Education Criteria: Literate Category: Unskilled
13 | Minimum wage escalation | Rs | 300000 |  | 0
Decription : minimum wage escalation
14 | Providing Hydra/Hydraulic lift (with bucket) services for shifting CNG equipment, replacement of FPL lights and other CGD related job as per direction of EIC in the Kolhapur GA | hours | 100 |  | 0
Decription : Providing Hydra/Hydraulic lift (with bucket) services for shifting CNG equipment, replacement of FPL lights and other CGD related job as per direction of EIC in the Kolhapur GA
15 | Providing and carrying out painting and marking of pipelines and structures, including supply of paint, all required materials, and manpower. (Double-coating primer and double-coating epoxy paint. ) | m2 | 750 |  | 0
Decription : Providing and carrying out painting and marking of pipelines and structures, including supply of paint, all required materials, and manpower. (Double-coating primer and double-coating epoxy paint. )
16 | Transporitaion of CNG equpment with loading and unloading (Pay load: up to 20 Ton) | Nos | 5 |  | 0
Decription : Transportation of CNG equipment with loading and unloading (Payload: up to 20 tons) for up to 50 KM
17 | Transporitaion of CNG equpment with loading and unloading (Pay load:20 Ton) | Nos | 7 |  | 0
Decription : Transportation of CNG equipment with loading and unloading (Payload: up to 20 tons) for up to 100 KM
18 | Transportation of CNG equipment with loading and unloading (Payload: up to 20 tons) | Nos | 5 |  | 0
Decription : Transportation of CNG equipment with loading and unloading (Payload: up to 20 tons) for up to 200 KM
19 | SS Tubes SECTION-A : SS TUBE SUPPLY,LAYING & TESTING ¾"OD X 0.095" min Wall thk.,Material SS316 SS Tube Kolhapur GA | RM | 60 |  | 0
Decription : SS Tubes SECTION-A : SS TUBE SUPPLY,LAYING & TESTING ¾"OD X 0.095" min Wall thk.,Material SS316 SS Tube Kolhapur GA
20 | SS Tubes SECTION-A : SS TUBE SUPPLY,LAYING & TESTING ½"OD X 0.083" min Wall thk.,Material SS316 SS Tube Kolhapur GA | RM | 30 |  | 0
Decription : SS Tubes SECTION-A : SS TUBE SUPPLY,LAYING & TESTING ½"OD X 0.083" min Wall thk.,Material SS316 SS Tube Kolhapur GA
21 | Conductive Core Thermoplastic Hose QRC 1/2" NPTS, 1/2" ID Conductive Core Thermoplastic Hose for CNG Service with break away coupling Min 4 meter length including connector for 1/2 '' 3 way ball val | Nos | 5 |  | 0
Decription : Conductive Core Thermoplastic Hose QRC 1/2" NPTS, 1/2" ID Conductive Core Thermoplastic Hose for CNG Service with break away coupling Min 4 meter length including connector for 1/2 '' 3 way ball valve (Make-Parker)Kolhapur GA
22 | QRC 1/2" NPTS, 1/2" ID Make- Swagelok (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 5 |  | 0
Decription : QRC 1/2" NPTS, 1/2" ID Make- Swagelok (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
23 | Break away Coupling Make-Staubli (Flow:3600 SCMH Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 5 |  | 0
Decription : Break away Coupling Make-Staubli (Flow:3600 SCMH Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
24 | Plug Size : ¾" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA | Nos | 5 |  | 0
Decription : Plug Size : ¾" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA
25 | Plug Size : ½" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA | nos | 5 |  | 0
Decription : Plug Size : ½" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA
26 | Caps Size : ¾" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA | Nos | 5 |  | 0
Decription : Caps Size : ¾" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA
27 | Caps Size : ½" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA | Nos | 5 |  | 0
Decription : Caps Size : ½" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA
28 | Union Size : ¾" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA | Nos | 20 |  | 0
Decription : Union Size : ¾" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA
29 | Union Size : ½" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA | Nos | 10 |  | 0
Decription : Union Size : ½" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA
30 | Reducing Union Tube OD 3/4" x Tube OD 1/2", Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA | Nos | 10 |  | 0
Decription : Reducing Union Tube OD 3/4" x Tube OD 1/2", Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA
31 | 4-Way Fitting Size:¾" OD x ¾" OD x ¾" OD, Material : SS316 ( Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Nos | 10 |  | 0
Decription : 4-Way Fitting Size:¾" OD x ¾" OD x ¾" OD, Material : SS316 ( Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)
32 | Equal Tee Size:¾" OD x ¾" OD x ¾" OD, Material : SS316 ( Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA | Nos | 10 |  | 0
Decription : Equal Tee Size:¾" OD x ¾" OD x ¾" OD, Material : SS316 ( Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA
33 | Equal Tee Size:½" OD x ½" OD x ½" OD, Material:SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA | Nos | 5 |  | 0
Decription : Equal Tee Size:½" OD x ½" OD x ½" OD, Material:SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA
34 | Reducing Union Tee ¾" OD x ½" OD x ¾" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA | Nos | 10 |  | 0
Decription : Reducing Union Tee ¾" OD x ½" OD x ¾" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA
35 | Tube End Connection ½" Tube End & ¾" OD with Ferrule Fitting, SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA | Nos | 5 |  | 0
Decription : Tube End Connection ½" Tube End & ¾" OD with Ferrule Fitting, SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA
36 | Front Ferrule 3/4" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA | Nos | 20 |  | 0
Decription : Front Ferrule 3/4" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F)Kolhapur GA
37 | Front Ferrule ½" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA | Nos | 20 |  | 0
Decription : Front Ferrule ½" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA
38 | Back Ferrule 3/4" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA | Nos | 20 |  | 0
Decription : Back Ferrule 3/4" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA
39 | Back Ferrule ½" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA | Nos | 20 |  | 0
Decription : Back Ferrule ½" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA
40 | Male Connector Size ¼" NPT (M) x 3/8" OD, SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA | Nos | 10 |  | 0
Decription : Male Connector Size ¼" NPT (M) x 3/8" OD, SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA
41 | Male Connector Size 1/2" NPT (M) x 3/8" OD, SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA | Nos | 10 |  | 0
Decription : Male Connector Size 1/2" NPT (M) x 3/8" OD, SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA
42 | Male Connector Size 1/2" NPT (M) x 3/4" OD, SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA | Nos | 10 |  | 0
Decription : Male Connector Size 1/2" NPT (M) x 3/4" OD, SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA
43 | SS Ball Valves 2-Way Trunioun Normal Bore Ball Valve ¾"(Rated pressure : 6000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA | Nos | 20 |  | 0
Decription : SS Ball Valves 2-Way Trunioun Normal Bore Ball Valve ¾"(Rated pressure : 6000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA
44 | SS Ball Valves 2-Way Trunioun Normal Bore Ball Valve ½"(Rated pressure : 6000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA | Nos | 10 |  | 0
Decription : SS Ball Valves 2-Way Trunioun Normal Bore Ball Valve ½"(Rated pressure : 6000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA
45 | SS Ball Valves 3-Way Trunnion Mounted, Reducer Bore Ball Valve ½" OD end Connection and ¼" NPT (F) bottom end connection(Rated pressure : 6000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA | Nos | 10 |  | 0
Decription : SS Ball Valves 3-Way Trunnion Mounted, Reducer Bore Ball Valve ½" OD end Connection and ¼" NPT (F) bottom end connection(Rated pressure : 6000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA
46 | SS Nut 3/4" OD SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA | Nos | 20 |  | 0
Decription : SS Nut 3/4" OD SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) Kolhapur GA
47 | SITE MISC. MATERIALS Rubber mats (2 or 2.5mm thick X 0.9 or 1Mtr w , 1.1 KV) as per IS15652/IEC61111 Kolhapur GA | Nos | 20 |  | 0
Decription : SITE MISC. MATERIALS Rubber mats (2 or 2.5mm thick X 0.9 or 1Mtr w , 1.1 KV) as per IS15652/IEC61111 Kolhapur GA
48 | SITE MISC. MATERIALS First aid boxKolhapur GA | Nos | 20 |  | 0
Decription : SITE MISC. MATERIALS First aid boxKolhapur GA
49 | SITE MISC. MATERIALS Supply, Installation, Testing and Commissinng of Emergency Shut Down switch (ESD-Red colour) with lockable Flameproof & weatherproof enclosure IP65, quick release provision, NO | Nos | 10 |  | 0
Decription : SITE MISC. MATERIALS Supply, Installation, Testing and Commissinng of Emergency Shut Down switch (ESD-Red colour) with lockable Flameproof & weatherproof enclosure IP65, quick release provision, NO-NC Contacts, Identification for emergency shutdown of mechnical and Electrical installations.Kolhapur GA
50 | Carbon Steel Ball Valve 2" NB,FB, 300# | Nos | 5 |  | 0
Decription : Carbon Steel Ball Valve 2" NB, FB, 300#
51 | Carbon Steel Ball Valve 1/2" NB,FB, 300# | Nos | 5 |  | 0
Decription : Carbon Steel Ball Valve 1/2" NB, FB, 300#
52 | Carbon Steel Ball Valve 3/4" NB,FB, 300# | Nos | 5 |  | 0
Decription : Carbon Steel Ball Valve 3/4" NB,FB, 300#
53 | Globe Valve 2" NB, 300# | Nos | 5 |  | 0
Decription : Globe Valve 2" NB, 300#
54 | Gaskets (300#) 2" NB | Nos | 5 |  | 0
Decription : Gaskets (300#) 2" NB
55 | Socket (300#) 1/2" Socket | Nos | 5 |  | 0
Decription : Socket (300#) 1/2" Socket
56 | Socket (300#) 3/4" Socket | Nos | 5 |  | 0
Decription : Socket (300#) 3/4" Socket
57 | Socket (300#) 1" Socket | Nos | 5 |  | 0
Decription : Socket (300#) 1" Socket
58 | PRESSURE GAUGES Supply, installation and calibration of pressure Gauges (Range pressure :0-70 Kg/cm2 ) | Nos | 8 |  | 0
Decription : PRESSURE GAUGES Supply, installation and calibration of pressure Gauges (Range pressure :0-70 Kg/cm2 )
59 | Pipe Supports & Other Structures Supply, fabrication and erection of all type of pipe supports | kg | 100 |  | 0
Decription : Supply, fabrication and erection of all type of pipe supports made out of std. steel sections like plates, angles, channels, including clamps, saddles, posts, including bolts, nuts, washers as per specification/drawing including cleaning, painting as specified, and instructions of engineer in charge. Including all civil work for pipe support. No extra payment shall be paid extra for civil works. e.g, Pipe supports including Neoprene Sheet, Copper Jumper at all flange joints.
60 | SUPPLY & LAYING OF CABLES 4C X 2.5 Sq.mm (CU) multi Strand | Meter | 200 |  | 0
Decription : SUPPLY & LAYING OF CABLES 4C X 2.5 Sq.mm (CU) multi Strand
61 | SUPPLY & LAYING OF CABLES 4C X 4 Sq.mm (CU) multi Strand | Meter | 100 |  | 0
Decription : SUPPLY & LAYING OF CABLES 4C X 4 Sq.mm (CU) multi Strand
62 | SUPPLY & LAYING OF CABLES 3.5C X 50 Sq.mm(AL) multi Strand | Meter | 50 |  | 0
Decription : SUPPLY & LAYING OF CABLES 3.5C X 50 Sq.mm(AL) multi Strand
63 | SUPPLY & LAYING OF CABLES 3C X 2.5 Sq.mm(CU) Fexible multi Strand | Meter | 50 |  | 0
Decription : SUPPLY & LAYING OF CABLES 3C X 2.5 Sq.mm(CU) Fexible multi Strand
64 | SUPPLY & LAYING OF CABLES 2.5 Sq.mm(CU) Fexible multi Strand Green Earthing wire | Meter | 50 |  | 0
Decription : SUPPLY & LAYING OF CABLES 2.5 Sq.mm(CU) Flexible multi-strand green earthing wire
65 | SUPPLY & LAYING OF CABLES 10 Sq.mm(CU) Fexible multi Strand Green Earthing wire | Meter | 200 |  | 0
Decription : SUPPLY & LAYING OF CABLES 10 Sq.mm(CU) Flexible multi-strand green earthing wire
66 | SUPPLY & LAYING OF CABLES 16 Sq.mm(CU) Fexible multi Strand Green Earthing wire | Meter | 100 |  | 0
Decription : SUPPLY & LAYING OF CABLES 16 Sq.mm(CU) Flexible multi-strand green earthing wire
67 | CABLE GLANDS & LUGS 4C X 2.5 Sq.mm (CU) multi Strand | Nos | 50 |  | 0
Decription : CABLE GLANDS & LUGS 4C X 2.5 Sq.mm (CU) multi Strand
68 | CABLE GLANDS & LUGS 4C X 4 Sq.mm (CU) multi Strand | Nos | 15 |  | 0
Decription : CABLE GLANDS & LUGS 4C X 4 Sq.mm (CU) multi Strand
69 | CABLE GLANDS & LUGS 3.5C X 50 Sq.mm(AL) multi Strand | Nos | 10 |  | 0
Decription : CABLE GLANDS & LUGS 3.5C X 50 Sq.mm(AL) multi Strand
70 | CABLE GLANDS & LUGS 3.5C X 95 Sq.mm AL) multi Strand | Nos | 10 |  | 0
Decription : CABLE GLANDS & LUGS 3.5C X 95 Sq.mm(AL) multi Strand
71 | CABLE GLANDS & LUGS 3C X 2.5 Sq.mm (CU) multi Strand | Nos | 15 |  | 0
Decription : CABLE GLANDS & LUGS 3C X 2.5 Sq.mm (CU) multi Strand
72 | THYMBLES & CONNECTORS 2.5 Sq.mm (CU) | Nos | 30 |  | 0
Decription : THYMBLES & CONNECTORS 2.5 Sq.mm (CU)
73 | THYMBLES & CONNECTORS 50 Sq.mm(AL) | Nos | 10 |  | 0
Decription : THYMBLES & CONNECTORS 50 Sq.mm(AL)
74 | THYMBLES & CONNECTORS 95 Sq.mm(AL) | Nos | 10 |  | 0
Decription : THYMBLES & CONNECTORS 95 Sq.mm(AL)
75 | THYMBLES & CONNECTORS 180 Sq.mm(AL) | Nos | 10 |  | 0
Decription : THYMBLES & CONNECTORS 180 Sq.mm(AL)
76 | THYMBLES & CONNECTORS 10 Sq.mm(CU) | Nos | 20 |  | 0
Decription : THYMBLES & CONNECTORS 10 Sq.mm(CU)
77 | THYMBLES & CONNECTORS 16 Sq.mm(CU) | Nos | 20 |  | 0
Decription : THYMBLES & CONNECTORS 16 Sq.mm(CU)
78 | SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 16 A, 2P, 50HZ | Nos | 10 |  | 0
Decription : SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 16 A, 2P, 50HZ
79 | SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 32 A, 4P, 50HZ | Nos | 10 |  | 0
Decription : SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 32 A, 4P, 50HZ
80 | SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 63 A, 4P, 50HZ | Nos | 5 |  | 0
Decription : SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 63 A, 4P, 50HZ
81 | SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 100 A, 4P, 50HZ | Nos | 5 |  | 0
Decription : SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 100 A, 4P, 50HZ
82 | SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 125 A, 4P, 50HZ | Nos | 5 |  | 0
Decription : SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 125 A, 4P, 50HZ
83 | SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 250 A, 4P, 50HZ | Nos | 2 |  | 0
Decription : SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 250 A, 4P, 50HZ
84 | SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 400 A,4P, 50HZ | Nos | 2 |  | 0
Decription : SUPPLY & INSTALLATION OF MCB/MCCB (Make- Havells) 400 A,4P, 50HZ
85 | Windsocks, Windsocks supply and installation with assembly stand | Nos | 36 |  | 0
Decription : Windsocks: Windsocks supply and installation with assembly stand
86 | Windsocks supply | Nos | 36 |  | 0
Decription : Windsocks: Windsocks supply
87 | Fire Extinguisher Hydrotest Co2- 4.5Kg | Nos | 15 |  | 0
Decription : Fire Extinguisher Hydrotest Co2- 4.5Kg
88 | Fire Extinguisher Hydrotest DCP- 10kg | Nos | 63 |  | 0
Decription : Fire Extinguisher Hydrotest DCP- 10kg
89 | Fire Extinguisher Hydrotest DCP- 75kg | Nos | 13 |  | 0
Decription : Fire Extinguisher Hydrotest DCP- 75kg
90 | Fire Extinguisher Refilling Co2- 4.5Kg | Nos | 14 |  | 0
Decription : Fire Extinguisher Refilling Co2- 4.5Kg
91 | Fire Extinguisher Refilling DCP- 10kg | Nos | 67 |  | 0
Decription : Fire Extinguisher Refilling DCP- 10kg
92 | Fire Extinguisher Refilling DCP- 75kg | Nos | 13 |  | 0
Decription : Fire Extinguisher Refilling DCP- 75kg
93 | SUPPLY, INSTALLATION, TESTING & COMMISSIONING EARTHING Supply, installation, testing & commissioning of Conventional Earthing with Perforated GI earth pipe, 3.0 mtr long, 100 mm dia and Minimum 1.6m | Nos | 10 |  | 0
Decription : SUPPLY, INSTALLATION, TESTING & COMMISSIONING EARTHING Supply, installation, testing & commissioning of Conventional Earthing with Perforated GI earth pipe, 3.0 mtr long, 100 mm dia and Minimum 1.6mm Thick including accessories and providing masonary enclosure with cover plate having locking arrangement etc., with charcoal and salt as required as per IS 3043. -Kolhapur GA
94 | SUPPLY, INSTALLATION, TESTING & COMMISSIONING EARTHING Supply, assembling, testing and commissioning all the items for constructing Cu plate earthing station comprises of Earthing with copper earth p | Nos | 5 |  | 0
Decription : SUPPLY, INSTALLATION, TESTING & COMMISSIONING EARTHING Supply, assembling, testing and commissioning all the items for constructing Cu plate earthing station comprises of Earthing with copper earth plate 600 mm X 600 mm X Minimum 3.15 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and G.I watering pipe of 50mm dia 2.7 metre long etc.with charcoal/ coke and salt as required.Kolhapur GA
95 | SUPPLY, INSTALLATION, TESTING & COMMISSIONING EARTHING Supply and Laying of 50mm X 6 mm G.I strip complete with all accessories. -Kolhapur GA | Mtrs | 30 |  | 0
Decription : SUPPLY, INSTALLATION, TESTING & COMMISSIONING EARTHING Supply and Laying of 50mm X 6 mm G.I strip complete with all accessories. -Kolhapur GA
96 | SUPPLY, INSTALLATION, TESTING & COMMISSIONING EARTHING Supply and Laying of 25mm X 3 mm G.I strip complete with all accessories.Kolhapur GA | Mtrs | 50 |  | 0
Decription : SUPPLY, INSTALLATION, TESTING & COMMISSIONING EARTHING Supply and Laying of 25mm X 3 mm G.I strip complete with all accessories.Kolhapur GA
97 | SUPPLY, INSTALLATION, TESTING & COMMISSIONING EARTHING Supply and Laying of 25mm X 3 mm CU. strip complete with all accessories.Kolhapur GA | Mtrs | 30 |  | 0
Decription : SUPPLY, INSTALLATION, TESTING & COMMISSIONING EARTHING Supply and Laying of 25mm X 3 mm CU. strip complete with all accessories.Kolhapur GA
Total Amount for PART B (Excl. GST) |  |  |  |  | 0
GST @.......% |  |  |  |  | 0
Total Amount for PART B (Incl. GST) |  |  |  |  | 0