## SOR AK
HPOIL GAS PRIVATE LIMITED (A Joint Venture of HPCL & OIL)
SCHEDULE OF RATES (SOR)
Tender Ref. No.: |  |  | HOGPL/2026-27/C&P/021 DATE: 27-08-2026
Name of the work: |  |  | SUPPLY OF METER REGULATING SKID (MRS) AT AMBALA KURUKSHETRA & KOLHAPUR GA
Name of the Bidder:
SR No | Product | Quantity | Ex-works price quoted by the bidder (including packing, forwarding, and GSTon components and raw materials but excluding Inland Transportation to Delivery Location) including cost of Inspection by Third Party Agency, etc. (wherever applicable) | Inland transportation upto Delivery location and other costs incidental to delivery of goods | GST (CGST&SGST/UTGST or IGST) on the finished goods excluding inland transportation (i.e. on cl. no. 4 ) |  | GST (CGST&SGST/UTGST or IGST) on inland transportation (i.e. on cl. no. 5) |  | Unit FOT site price incl. GST & inland transportaion | Total FOT site price incl. all taxes & duties & inland transportaion
|  | (Nos) | (INR) | (INR) | % | (INR) | % | (INR) | (INR) | (INR)
(1) | (2) | (3) | (4) | (5) | (6A) | (6B) | (7A) | (7B) | (8)= (4)+(5)+(6B)+(7B) | (9)= (8) X (3)
PART A: AMBALA-KURUKSHETRA GA
(1): 1; (2): MRS - SINGLE STREAM65 SCMH FLOW RATE; (3): 4; (6B): 0; (7B): 0 | 0 | 0
Description: SINGLE STREAM MRS (METER REGULATING STATION) INSIDE THE CABINET WITH FLOW CAPACITY OF 10- 65 SCMH, INLET 2 - 4 BAR, OUTLET - 1.5 BAR CONSISTING OF FILTRATION, PRESSURE REGULATION WITH SSV, REGULATOR, PRESSURE GAUGES, CREEP RELIEF VALVES, FLOW METER, RESTRICTION ORIFICE, ELECTRONIC VOLUME CORRECTOR WITH PRESSURE & TEMPERATURE TRANSMITTER ETC. ALONG WITH ASSOCIATED ASSO ACCESSORIES INCLUDING INSTRUMENT FITTINGS, MANIFOLDS, IMPULSE TUBING WITH FITTINGS, PIPES, VALVES, NRVS, FLANGES, GASKETS, ALL STRUCTURE/ SUPPORTS/OPERATING PLATFORMS, CABLES AND CABLING FROM FIELD INSTRUMENTS TO EVC ETC., GLANDS, FERRULES, LUGS, TAGS AT BOTH ENDS, SUPPORTS, SS BLIND PLUGS, MOUNTING STANDS, ALL APPLICABLE ACCESSORIES, MANDATORY SPARE REQUIRED FOR COMMISSIONING, NOT? EVC SHALL COMMUNICATE WITH STATION THROUGH GSM/GPRS. PROVISION SHALL BE KEPT READY IN THE OFFERED EVC BY VENDOR. COMMUNICATION CABLE FOR CONNECTING WITH THE LAPTOP FOR FETCHING DATA.THE SCOPE INCLUDES TRANSPORTATION OF MRS TO AMBALA-KURUKSHETRA GA & COMMISSIONING OF MRS.
(1): 2; (2): MRS - SINGLE STREAM 100 SCMH FLOW RATE; (3): 4; (6B): 0; (7B): 0 | 0 | 0
Description: SINGLE STREAM MRS (METER REGULATING STATION) INSIDE THE CABINET WITH FLOW CAPACITY OF 10- 65 SCMH, INLET 2 - 4 BAR, OUTLET - 1.5 BAR CONSISTING OF FILTRATION, PRESSURE REGULATION WITH SSV, REGULATOR, PRESSURE GAUGES, CREEP RELIEF VALVES, FLOW METER, RESTRICTION ORIFICE, ELECTRONIC VOLUME CORRECTOR WITH PRESSURE & TEMPERATURE TRANSMITTER ETC. ALONG WITH ASSOCIATED ASSO ACCESSORIES INCLUDING INSTRUMENT FITTINGS, MANIFOLDS, IMPULSE TUBING WITH FITTINGS, PIPES, VALVES, NRVS, FLANGES, GASKETS, ALL STRUCTURE/ SUPPORTS/OPERATING PLATFORMS, CABLES AND CABLING FROM FIELD INSTRUMENTS TO EVC ETC., GLANDS, FERRULES, LUGS, TAGS AT BOTH ENDS, SUPPORTS, SS BLIND PLUGS, MOUNTING STANDS, ALL APPLICABLE ACCESSORIES, MANDATORY SPARE REQUIRED FOR COMMISSIONING, NOT? EVC SHALL COMMUNICATE WITH STATION THROUGH GSM/GPRS. PROVISION SHALL BE KEPT READY IN THE OFFERED EVC BY VENDOR. COMMUNICATION CABLE FOR CONNECTING WITH THE LAPTOP FOR FETCHING DATA.THE SCOPE INCLUDES TRANSPORTATION OF MRS TO AMBALA-KURUKSHETRA GA & COMMISSIONING OF MRS.
(1): 3; (2): MRS - SINGLE STREAM 250 SCMH FLOW RATE; (3): 1; (6B): 0; (7B): 0 | 0 | 0
Description: SINGLE STREAM MRS (METER REGULATING STATION) INSIDE THE CABINET WITH FLOW CAPACITY OF 10- 250 SCMH, INLET 2 - 4 BAR, OUTLET - 1.5 BAR CONSISTING OF FILTRATION, PRESSURE REGULATION WITH SSV, REGULATOR, PRESSURE GAUGES, CREEP RELIEF VALVES, FLOW METER, RESTRICTION ORIFICE, ELECTRONIC VOLUME CORRECTOR WITH PRESSURE & TEMPERATURE TRANSMITTER ETC. ALONG WITH ASSOCIATED ASSO ACCESSORIES INCLUDING INSTRUMENT FITTINGS, MANIFOLDS, IMPULSE TUBING WITH FITTINGS, PIPES, VALVES, NRVS, FLANGES, GASKETS, ALL STRUCTURE/ SUPPORTS/OPERATING PLATFORMS, CABLES AND CABLING FROM FIELD INSTRUMENTS TO EVC ETC., GLANDS, FERRULES, LUGS, TAGS AT BOTH ENDS, SUPPORTS, SS BLIND PLUGS, MOUNTING STANDS, ALL APPLICABLE ACCESSORIES, MANDATORY SPARE REQUIRED FOR COMMISSIONING, NOT? EVC SHALL COMMUNICATE WITH STATION THROUGH GSM/GPRS. PROVISION SHALL BE KEPT READY IN THE OFFERED EVC BY VENDOR. COMMUNICATION CABLE FOR CONNECTING WITH THE LAPTOP FOR FETCHING DATA.THE SCOPE INCLUDES TRANSPORTATION OF MRS TO AMBALA-KURUKSHETRA GA & COMMISSIONING OF MRS.
(1): 4; (2): RPD Meter G-100 with EVC; (3): 1; (6B): 0; (7B): 0 | 0 | 0
Decription : RPD Meter G-100 with EVC
(1): 5; (2): Regulator - 65 SCMH; (3): 1; (6B): 0; (7B): 0 | 0 | 0
Decription : Regulator - 65 SCMH, PCV+ SSV ( Inlet Pressure 2-4 Bar , Outlet - 1.5 -2 Bar, End Connection - Flanged End 300#, 1")
(1): 6; (2): Regulator - 100 SCMH; (3): 1; (6B): 0; (7B): 0 | 0 | 0
Decription : Regulator - 100 SCMH, PCV+ SSV ( Inlet Pressure 2-4 Bar , Outlet - 1.5 -2 Bar, End Connection - Flanged End 300#, 1")
(1): 7; (2): Regulator - 250 SCMH; (3): 1; (6B): 0; (7B): 0 | 0 | 0
Decription : Regulator - 250 SCMH, PCV+ SSV ( Inlet Pressure 2 -4 Bar , Outlet - 1.5 -2 Bar, End Connection - Flanged End 300#, 1")
(1): TOTAL AMOUNT INCLUDING ALL TAXES & DUTIES WITH GST |  | 0

## SOR KOL
HPOIL GAS PRIVATE LIMITED (A Joint Venture of HPCL & OIL)
SCHEDULE OF RATES (SOR)
Tender Ref. No.: |  |  | HOGPL/2026-27/C&P/021 DATE: 27-08-2026
Name of the work: |  |  | SUPPLY OF METER REGULATING SKID (MRS) AT AMBALA KURUKSHETRA & KOLHAPUR GA
Name of the Bidder:
SR No | Product | Quantity | Ex-works price quoted by the bidder (including packing, forwarding, and GSTon components and raw materials but excluding Inland Transportation to Delivery Location) including cost of Inspection by Third Party Agency, etc. (wherever applicable) | Inland transportation upto Delivery location and other costs incidental to delivery of goods | GST (CGST&SGST/UTGST or IGST) on the finished goods excluding inland transportation (i.e. on cl. no. 4 ) |  | GST (CGST&SGST/UTGST or IGST) on inland transportation (i.e. on cl. no. 5) |  | Unit FOT site price incl. GST & inland transportaion | Total FOT site price incl. all taxes & duties & inland transportaion
|  | (Nos) | (INR) | (INR) | % | (INR) | % | (INR) | (INR) | (INR)
(1) | (2) | (3) | (4) | (5) | (6A) | (6B) | (7A) | (7B) | (8)= (4)+(5)+(6B)+(7B) | (9)= (8) X (3)
PART B: KOLHAPUR GA
(1): 1; (2): MRS - SINGLE STREAM 65 SCMH; (3): 4; (6B): 0; (7B): 0 | 0 | 0
Decription : MRS - SINGLE STREAM 65 SCMHDescription: SINGLE STREAM MRS (METER REGULATING STATION) INSIDE THE CABINET WITH FLOW CAPACITY OF 10- 65 SCMH, INLET 2- 4 BAR, OUTLET - 1.5 BAR CONSISTING OF FILTRATION, PRESSURE REGULATION WITH SSV, REGULATOR, PRESSURE GAUGES, CREEP RELIEF VALVES, FLOW METER, RESTRICTION ORIFICE, ELECTRONIC VOLUME CORRECTOR WITH PRESSURE & TEMPERATURE TRANSMITTER ETC. ALONG WITH ASSOCIATED ASSO ACCESSORIES INCLUDING INSTRUMENT FITTINGS, MANIFOLDS, IMPULSE TUBING WITH FITTINGS, PIPES, VALVES, NRVS, FLANGES, GASKETS, ALL STRUCTURE/ SUPPORTS/OPERATING PLATFORMS, CABLES AND CABLING FROM FIELD INSTRUMENTS TO EVC ETC., GLANDS, FERRULES, LUGS, TAGS AT BOTH ENDS, SUPPORTS, SS BLIND PLUGS, MOUNTING STANDS, ALL APPLICABLE ACCESSORIES, MANDATORY SPARE REQUIRED FOR COMMISSIONING, NOT? EVC SHALL COMMUNICATE WITH STATION THROUGH GSM/GPRS. PROVISION SHALL BE KEPT READY IN THE OFFERED EVC BY VENDOR. COMMUNICATION CABLE FOR CONNECTING WITH THE LAPTOP FOR FETCHING DATA.THE SCOPE INCLUDES TRANSPORTATION OF MRS TO Kolhapur GA & COMMISSIONING OF MRS.
(1): 2; (2): MRS - SINGLE STREAM 100 SCMH; (3): 6; (6B): 0; (7B): 0 | 0 | 0
Decription : MRS - SINGLE STREAM 100 SCMHDescription: SINGLE STREAM MRS (METER REGULATING STATION) INSIDE THE CABINET WITH FLOW CAPACITY OF 10- 65 SCMH, INLET 2- 4 BAR, OUTLET - 1.5 BAR CONSISTING OF FILTRATION, PRESSURE REGULATION WITH SSV, REGULATOR, PRESSURE GAUGES, CREEP RELIEF VALVES, FLOW METER, RESTRICTION ORIFICE, ELECTRONIC VOLUME CORRECTOR WITH PRESSURE & TEMPERATURE TRANSMITTER ETC. ALONG WITH ASSOCIATED ASSO ACCESSORIES INCLUDING INSTRUMENT FITTINGS, MANIFOLDS, IMPULSE TUBING WITH FITTINGS, PIPES, VALVES, NRVS, FLANGES, GASKETS, ALL STRUCTURE/ SUPPORTS/OPERATING PLATFORMS, CABLES AND CABLING FROM FIELD INSTRUMENTS TO EVC ETC., GLANDS, FERRULES, LUGS, TAGS AT BOTH ENDS, SUPPORTS, SS BLIND PLUGS, MOUNTING STANDS, ALL APPLICABLE ACCESSORIES, MANDATORY SPARE REQUIRED FOR COMMISSIONING, NOT? EVC SHALL COMMUNICATE WITH STATION THROUGH GSM/GPRS. PROVISION SHALL BE KEPT READY IN THE OFFERED EVC BY VENDOR. COMMUNICATION CABLE FOR CONNECTING WITH THE LAPTOP FOR FETCHING DATA.THE SCOPE INCLUDES TRANSPORTATION OF MRS TO KOLHAPUR GA & COMMISSIONING OF MRS.
(1): 3; (2): MRS - SINGLE STREAM 250 SCMH; (3): 8; (6B): 0; (7B): 0 | 0 | 0
Decription : MRS - SINGLE STREAM 250 SCMHDescription: SINGLE STREAM MRS (METER REGULATING STATION) INSIDE THE CABINET WITH FLOW CAPACITY OF 10- 250 SCMH, INLET 2- 4 BAR, OUTLET - 1.5 BAR CONSISTING OF FILTRATION, PRESSURE REGULATION WITH SSV, REGULATOR, PRESSURE GAUGES, CREEP RELIEF VALVES, FLOW METER, RESTRICTION ORIFICE, ELECTRONIC VOLUME CORRECTOR WITH PRESSURE & TEMPERATURE TRANSMITTER ETC. ALONG WITH ASSOCIATED ASSO ACCESSORIES INCLUDING INSTRUMENT FITTINGS, MANIFOLDS, IMPULSE TUBING WITH FITTINGS, PIPES, VALVES, NRVS, FLANGES, GASKETS, ALL STRUCTURE/ SUPPORTS/OPERATING PLATFORMS, CABLES AND CABLING FROM FIELD INSTRUMENTS TO EVC ETC., GLANDS, FERRULES, LUGS, TAGS AT BOTH ENDS, SUPPORTS, SS BLIND PLUGS, MOUNTING STANDS, ALL APPLICABLE ACCESSORIES, MANDATORY SPARE REQUIRED FOR COMMISSIONING, NOT? EVC SHALL COMMUNICATE WITH STATION THROUGH GSM/GPRS. PROVISION SHALL BE KEPT READY IN THE OFFERED EVC BY VENDOR. COMMUNICATION CABLE FOR CONNECTING WITH THE LAPTOP FOR FETCHING DATA.THE SCOPE INCLUDES TRANSPORTATION OF MRS TO KOLHAPUR GA & COMMISSIONING OF MRS.
(1): 4; (2): MRS - SINGLE STREAM 650 SCMH; (3): 4; (6B): 0; (7B): 0 | 0 | 0
Decription : MRS - SINGLE STREAM 650 SCMHDescription: SINGLE STREAM MRS (METER REGULATING STATION) INSIDE THE CABINET WITH FLOW CAPACITY OF 10- 250 SCMH, INLET 2 - 4 BAR, OUTLET - 1.5 BAR CONSISTING OF FILTRATION, PRESSURE REGULATION WITH SSV, REGULATOR, PRESSURE GAUGES, CREEP RELIEF VALVES, FLOW METER, RESTRICTION ORIFICE, ELECTRONIC VOLUME CORRECTOR WITH PRESSURE & TEMPERATURE TRANSMITTER ETC. ALONG WITH ASSOCIATED ASSO ACCESSORIES INCLUDING INSTRUMENT FITTINGS, MANIFOLDS, IMPULSE TUBING WITH FITTINGS, PIPES, VALVES, NRVS, FLANGES, GASKETS, ALL STRUCTURE/ SUPPORTS/OPERATING PLATFORMS, CABLES AND CABLING FROM FIELD INSTRUMENTS TO EVC ETC., GLANDS, FERRULES, LUGS, TAGS AT BOTH ENDS, SUPPORTS, SS BLIND PLUGS, MOUNTING STANDS, ALL APPLICABLE ACCESSORIES, MANDATORY SPARE REQUIRED FOR COMMISSIONING, NOT? EVC SHALL COMMUNICATE WITH STATION THROUGH GSM/GPRS. PROVISION SHALL BE KEPT READY IN THE OFFERED EVC BY VENDOR. COMMUNICATION CABLE FOR CONNECTING WITH THE LAPTOP FOR FETCHING DATA.THE SCOPE INCLUDES TRANSPORTATION OF MRS TO KOLHAPUR GA & COMMISSIONING OF MRS.
(1): 5; (2): Regulator - 65 SCMH; (3): 1; (6B): 0; (7B): 0 | 0 | 0
Decription : Supply of Regulator - 65 SCMH, PCV+ SSV ( Inlet Pressure 2-4 Bar , Outlet - 1.5Bar, End Connection - Flanged End 300#, 1")
(1): 6; (2): Regulator - 100 SCMH; (3): 1; (6B): 0; (7B): 0 | 0 | 0
Decription : Supply of Regulator - 100 SCMH, PCV+ SSV ( Inlet Pressure 2-4 Bar , Outlet - 1.5Bar, End Connection - Flanged End 300#, 1")
(1): 7; (2): Regulator - 250 SCMH; (3): 1; (6B): 0; (7B): 0 | 0 | 0
Decription : Supply of Regulator - 250 SCMH, PCV+ SSV ( Inlet Pressure 2-4 Bar , Outlet - 1.5Bar, End Connection - Flanged End 300#, 1")
(1): 8; (2): Regulator - 650 SCMH; (3): 1; (6B): 0; (7B): 0 | 0 | 0
Decription : Regulator - 650 SCMH, PCV+ SSV ( Inlet Pressure 2-4 Bar , Outlet -1.5Bar, End Connection - Flanged End 2")
(1): TOTAL AMOUNT INCLUDING ALL TAXES & DUTIES WITH GST |  | 0